DIGITAL TWIN SIMULATION: COMBINING SOURCE OF TRUTH AND MONITORING METRICS

1. Introduction

For realistic simulation, it is essential to combine Source of Truth and Monitoring metrics:

- Source of Truth: Design capacity (what should exist)

- Monitoring: Runtime reality (what is actually happening)

- Digital Twin: Combination of design and real-time data

If simulation is based only on configuration data, it becomes static capacity validation, not a true digital twin system.

2. Limitations of Source of Truth Alone

Example Scenario

Rack Capacity (Configuration Data):

- Space: OK

- Power: OK

Simulation Result: PASS

Monitoring Data Shows:

- CPU usage: 95%

- Rack temperature: 44°C

- Power spikes occurring

Actual Outcome

Adding a new server results in:

- Rack overheating

- Thermal throttling

- System failures

This highlights the need to integrate real-time monitoring into simulation.

3. Simulation Model

The correct simulation approach combines multiple factors:

Simulation State =

- Static Capacity (e.g., MongoDB)

- Current Utilization (e.g., InfluxDB)

- Health Signals

- Trend Prediction

4. Monitoring-Driven Scenarios

The following real-world scenarios must be considered:

4.1 CPU Saturation

- If CPU usage > 85%, placement should be blocked

4.2 Memory Pressure

- Insufficient free memory leads to allocation failure

4.3 Rack Temperature

- If temperature > 38°C, reduce workload density

4.4 Power Spike Risk

- Peak usage near capacity may trip breakers

4.5 Network Congestion

- If utilization > 80%, avoid adding new workloads

4.6 Storage I/O Bottleneck

- High IOPS usage degrades performance

4.7 Hotspot Rack

- Avoid placing workloads in overloaded racks

4.8 Cooling Imbalance

- Prefer cooler zones for workload placement

4.9 Hardware Failure Risk

- Avoid nodes with health alerts

4.10 Network Latency

- High latency impacts performance

4.11 Thermal Trend Prediction

- Rising trends can lead to future failures

4.12 Power Redundancy Risk

- Do not violate redundancy constraints

4.13 Noisy Neighbor Problem

- Heavy workloads can cause contention

4.14 Failure Domain Risk

- Distribute workloads to reduce risk

4.15 Maintenance Awareness

- Avoid nodes scheduled for maintenance

5. Constraint Classification

5.1 Static Constraints (Source of Truth)

- Space

- Power rating

- Network ports

- Storage capacity

- Rack units

5.2 Dynamic Constraints (Monitoring)

- CPU usage

- Temperature

- Power consumption

- Network load

- IOPS

- Health alerts

5.3 Predictive Constraints

- Usage trends

- Failure probability

- Thermal growth

- Load forecasting

6. Industry Standard Decision Model

Placement Score =

- Capacity Score

- Utilization Score

- Health Score

- Risk Score

- Prediction Score

Instead of a simple pass/fail system, modern systems use scoring to determine optimal placement.

7. Recommendations

A robust simulation system should include:

- Static validation

- Runtime validation

- Risk validation

- Trend validation

- Optimization-based recommendations

8. Conclusion

Modern digital twin systems (e.g., cloud platforms) evaluate:

- Can the workload be placed? → Yes

- Should it be placed? → Maybe

- Where is the best placement? → Optimized decision

This distinguishes a basic simulator from a true digital twin system.